## Sheet1
user_id | nama | conductivity | totaldissolvedsolids_tds | totalsuspendedsolids_tss | turbidity | hardness | alkalinity_ascaco3 | alkalinitycarbonate | alkalinitybicarbonate | temperature | salinity | dissolvedoxygen_do | ph_min | ph_max | alkalinitytotal | chloride_cl | fluoride_f | sulphate_so4 | sulphite_h2s | freechlorine_cl2 | freecyanide_fcn | totalcyanide_cntot | wadcyanide_cnwad | ammonia_nh4 | ammonium_n_nh3 | nitrate_no3 | nitrite_no2 | phosphate_po4 | totalphosphate_ppo4 | aluminium_al | antimony_sb | arsenic_as | barium_ba | cadmium_cd | calcium_ca | chromium_cr | chromiumhexavalent_cr6 | cobalt_co | copper_cu | iron_fe | lead_pb | magnesium_mg | manganese_mn | mercury_hg | nickel_ni | selenium_se | silver_ag | sodium_na | tin_sn | zinc_zn | aluminium_tal | arsenic_tas | cadmium_tcd | chromiumhexavalent_tcr6 | chromium_tcr | cobalt_tco | copper_tco | lead_tpb | selenium_tse | mercury_thg | nickel_tni | zinc_tzn | bod | cod | oilandgrease | totalphenols | surfactant_mbas | totalpcb | aox | pcdfs | pcdds | fecalcoliform | ecoli | totalcoliformbacteria
1 | Unit | (uS/cm) | (mg/L) | (mg/L) | (NTU) | (oD) | (mg/L) | (mg/L) | (mg/L) | ºC | ‰ | (mg/L) | - | - | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | Jml/100ml | Jml/100ml | Jml/100ml
1 | Regulatory Standard : PP 82 tahun 2001 lamp. II | n/a | 1000 | 50 | - | - | - | - | - | - | - | 4 | 6 | 9 | n/a | - | 1.5 | n/a | - | 0.03 | n/a | 0.02 | n/a | - | n/a | 10 | 0.06 | 0.2 | n/a | n/a | - | 1 | - | 0.01 | - | - | 0.05 | 0.2 | 0.02 | n/a | 0.03 | No. Std | n/a | 0.002 | - | 0.05 | n/a | - | - | 0.05 | No. Std | No. Std | No. Std | No. Std | No. Std | No. Std | No. Std | No. Std | No. Std | No. Std | No. Std | No. Std | 3 | 25 | 1 | 0.001 | 0.2 | - | - | - | - | 1000 | 5000 | 5000
1 | KepMenLH No. 202 Tahun 2004 Lampiran II | Insitu | n/a | 200 | - | - | - | - | - | Insitu | - | Insitu | 6 | 9 | - | - | - | - | - | - | 0.5 | n/a | n/a | - | - | - | - | - | - | - | - | 0.5 | - | 0.1 | - | 1 | - | - | 2 | - | 1 | - | - | 0.005 | 0.5 | - | - | - | - | 5 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
1 | IFC Standard | No. Std | No. Std | 50 | No. Std | No. Std | No. Std | No. Std | No. Std | (+/-3º) | No. Std | No. Std | 6 | 9 | No. Std | No. Std | No. Std | No. Std | No. Std | - | 0.1 | 1 | 0.5 | No. Std | - | No. Std | No. Std | No. Std | No. Std | No. Std | No. Std | 1 | No. Std | 0.1 | No. Std | 0.05 | No. Std | No. Std | 0.3 | No. Std | 0.6 | No. Std | No. Std | 0.002 | 0.5 | No. Std | No. Std | No. Std | - | 1 | No. Std | No. Std | No. Std | 1 | No. Std | No. Std | No. Std | No. Std | No. Std | 0.002 | No. Std | No. Std | 50 | 150 | 20 | 0.5 | No. Std | - | - | - | - | No. Std | No. Std | No. Std
1 | KepMen LH No. 9 Tahun 2014 Lampiran V | - | 2000 | 200 | - | - | - | - | - | n/a | - | - | 6 | 9 | - | - | 2 | - | 0.05 | 1 | 0.05 | 0.05 | 0.05 | - | 1 | 20 | 1 | - | - | - | - | 0.1 | 2 | 0.05 | - | 0.5 | 0.1 | 0.4 | 2 | 5 | 0.1 | - | 2 | 0.002 | 0.2 | 0.05 | - | - | 2 | 5 | - | - | - | - | 0.5 | - | - | - | - | - | - | - | 50 | 100 | 10 | 0.5 | 5 | 0.005 | 0.5 | 10 | 10 | - | - | -
1 | Keputusan Kepala BKPM-RI No. SK.234/1/KLHK/2020 Lampiran IV | - | 2000 | 200 | - | - | - | - | - | n/a | - | - | 6 | 9 | - | - | 2 | - | 20 | 1 | - | 0.05 | - | - | 8 | 20 | 5 | - | - | - | - | 0.1 | 2 | 0.05 | - | 0.5 | 0.1 | 0.4 | 2 | 5 | 0.1 | - | 2 | 0.002 | 0.2 | 0.05 | - | - | 2 | 5 | - | - | - | - | - | - | - | - | - | - | - | - | 50 | 100 | 10 | 0.5 | 5 | - | - | - | - | - | - | -